BuildSense Construction Packages Review

Review the details for each package below. You can copy this text, make your desired changes, and send it back to me to update the website.

---

## 1. Sense Essential

Description: A perfect blend of affordability and structural integrity, delivering branded components and core interior fittings.
Starting Rate: ₹2,500 / sqft

### Features (Highlights)

- Generous 10'6" ceiling clearance

- High-strength Fe  -500 TMT steel reinforcement

- Weather-proof UPVC windows

### Detailed Specs

Architectural Planning
- Comprehensive 2D spatial layouts
- Engaging 3D exterior visualizations
- Maximum of three layout adjustments
- Interior 3D perspectives for key rooms
- Initial site assessment and dimensional mapping

Civil & Structural Framework
- Floor-to-ceiling clearance of 10 feet 6 inches
- Premium steel reinforcement (Meenakshi or Kamadhenu Fe-500 TMT)
- Top-tier Grade 53 cement (ACC, Penna, or Dalmia)
- 8000-liter solid-block underground sump with leak-proof plaster
- RMC- M25 grade concrete
- Sturdy solid concrete block masonry (6-inch and 4-inch profiles)
- Reinforced joints using chicken mesh

- Double-washed manufactured sand.
- Exterior weather-proofing applied via Dr.Fixit or FOSROC
- Comprehensive cement-based terrace leak prevention
- Built-in ledge walls for concealing sanitary plumbing
- Pre-construction subterranean anti-termite shield

Drafting & Documentation
- Comprehensive working drafts for all construction phases
- Detailed schedule mapping for doors and windows
- Cross-section and building elevation drafts
- Complete post-completion project portfolio

Engineering & Analysis
- IS Code compliant structural engineering framework
- Execution-ready structural Drawings

Utility System Design
- Complete electrical and switching routing plan
- Fresh water plumbing supply schematics
- Wastewater and sewage drainage routing

Statutory Approvals Support
- Support for acquiring municipal building plan approvals
- Assistance with temporary construction power setup
- Guidance for securing permanent electrical connections
- Help with establishing municipal water sourcing
- Sewage line connection liaison support

Flooring & Wall Cladding
- Bedrooms and Kitchen: 2'x2' durable vitrified tiles
- Living areas: Marble-textured premium vitrified flooring
- Stairways: High-durability granite steps
- Balconies and common paths: Slip-resistant outdoor tiles
- Washroom flooring: Anti-slip safety tiling
- Washroom walls: 7ft high protective dado cladding
- Driveway and Parking: Heavy-duty interlocking pavers
- Kitchen countertops: Solid seamless granite surfaces
- Kitchen walls: Easy-clean backsplash tiles
- Puja area: Dedicated premium granite slab

Paints & Coatings
- Interiors: Double putty coat, primer base, and premium Tractor Shine finish
- Exteriors: Primer base paired with dual-layer Apex weather-resistant coating
- Trusted paint brands: Asian Paints, Berger, or Nippo

Electrical Systems
- Customized lighting and power socket distribution
- Dedicated water heater connections in every washroom
- Air conditioning prep in all sleeping quarters
- Fully concealed wall and ceiling conduit networks
- Fire-resistant copper cabling (Finolex or equivalent)
- Complete exterior landscape lighting prep
- Anchor-Roma series switchgear and faceplates
- Reliable IndoAsian or Siemens main distribution boards
- Dedicated EV charging outlet in the garage bay
- Inverter and UPS integration ready

Plumbing & Water Management
- End-to-end interior and exterior fresh water supply
- Direct municipal water line integration
- External sewage routing featuring maintenance chambers
- High-grade Ashirwad or Astral CPVC piping
- Solar heater roof plumbing prep
- Eco-friendly rainwater harvesting ground recharge pit
- Reliable PVC rooftop storage reservoir
- Galvanized iron covers for inspection chambers
- Independent waste and storm drainage channels

Sanitary & Kitchen Fixtures
- Premium kitchen sink basin (Stainless Steel or Granite options)
- High-end Jaquar or Hindware CP and sanitary wares
- Dedicated powder room utility fittings

Doors & Windows Setup
- Main entrance: Premium teak wood frame and artisan shutter
- Interior rooms: Sal wood frames paired with flush doors
- Melamine hand-polished finish applied to the main door
- Durable, moisture-resistant bathroom specific doors
- High-quality Ozone/Europa locking hardware with stainless hinges
- UPVC window units featuring clear glass and built-in safety grills

Metal Fabrication
- Custom-designed main property entrance gate
- Mild steel safety railings for external stairs and balconies
- Polished stainless steel railings for interior staircases

Boundary Enclosures
- Excavation and size stone masonry trench foundation
- 5-foot high perimeter boundary enclosure
- Fully plastered and painted exterior finish

Important Exclusions
- Design revisions exceeding the standard limit will incur design fees

- Interior wood works are not part of this package 
- Government and statutory liaison charges are direct client expenses
- Municipal plan sanctioning fees are paid by the property owner
- Elevating the ground level beyond 18 inches will be billed extra
- Hard rock or complex soil excavation is billed separately
- Debris removal and fresh earth purchases are charged on actuals
- Significant market price surges in raw materials are subject to joint review
- Door and window areas are capped at 22% of total built-up space
- Client must arrange temporary water and power for the construction crew
- Foundation depths extending beyond 5 feet are additionally charged
- Logistic hurdles for narrow road material delivery billed on actuals
- Municipal road cutting deposits are excluded from this estimate

Warranties Provided
- 12-month holistic structural construction guarantee
- 10-year comprehensive terrace and wet-area waterproofing warranty
- All warranties are legally documented on official stamp paper

---

## 2. Sense Prime

Description: A sophisticated construction plan featuring high-end finishes, detailed 3D modeling, and premium-grade building materials.
Starting Rate: ₹2,750 / sqft

### Features (Highlights)

- Advanced 2D/3D layouts

- Authentic Italian marble or large-format vitrified flooring

- Top-tier JSW/SAIL/Vizag  steel reinforcements

- Pre-wired for modern home automation

### Detailed Specs

Architectural Planning
- High-end 2D floor layouts and comprehensive 3D models
- Detailed exterior visual renders for all facades
- Generous allowance of  design iterations
- Immersive isometric room-by-room perspectives
- Bespoke landscaping and hardscape blueprints
- Fully interactive 3D virtual home walkthroughs
- Segmented 3D models breaking down individual floors
- Instrument-based precision site topography survey
- Advanced Virtual Reality property tours

Civil & Structural Framework
- Spacious floor-to-ceiling heights of 10 feet 6 inches
- Elite steel reinforcement (JSW, SAIL, or Vizag Fe-500 TMT)
- Grade 53 cement sourced from ACC or Ultratech
- 8000-liter RCC underground sump with waterproof lining
- High-grade M25 ready-mix concrete
- Precision machine-cut solid blocks (6-inch and 4-inch)
- Custom architectural elements including courtyards and skylights
- Anti-crack chicken mesh plastering at all structural joints
- Advanced exterior moisture defense using Dr.Fixit or FOSROC
- Crystalline waterproofing and cinder-filled sunken washrooms
- Concealed sanitary ledges built directly into the structure
- Thorough pre-construction anti-termite ground treatment

Drafting & Documentation
- Extensive working drafts covering every construction phase
- Detailed opening schedules for doors and fenestration (windows)
- Cross-section and precise building elevation blueprints
- Curated post-completion handover portfolio

Interior Woodwork & Finishes
- Immersive 3D interior design mockups (if executed by our team)
- Comprehensive 2D furniture placement layouts
- Dedicated support for sourcing premium interior materials

Engineering & Analysis
- Rigorous structural engineering as per national IS standards
- Flawless good-for-construction foundational drawings
- Comprehensive geotechnical soil test reports ,if required on site condition
- Integrated overlapping of structural, architectural, and MEP plans
- 3D structural stress-test and analysis documentation

Utility System Design
- Precision electrical circuit and switching plans
- Fresh water plumbing and pressure routing
- Wastewater, sewage, and drainage schematics
- Dedicated HVAC and climate control blueprints

Statutory Approvals Support
- End-to-end guidance for municipal plan sanctions
- Assistance with securing temporary construction electricity
- Liaison support for permanent power grid connections
- Help with establishing municipal water lines
- Sewage network connection support

Flooring & Wall Cladding
- Kitchen and Bedrooms: Premium vitrified tiles
- Main Living and Dining: Authentic Italian marble or large 4'x8' vitrified slabs
- Stairways and Foyers: High-polish granite slabs
- Balconies and Passages: Matte anti-skid safety tiles
- Washroom flooring: Textured anti-slip tiling
- Washroom walls: Full-height ceiling-level dado cladding
- Parking bays: Heavy-duty designer pavers
- Kitchen counters: Seamless granite working surfaces
- Kitchen walls: Backsplash dado up to 2 feet above counters
- Puja room: Full-height wall tiling and dedicated granite pedestal
- Unrestricted tile sizes with premium epoxy bathroom grouting

Paints & Coatings
- Interiors: Double putty, single primer, and dual coats of premium emulsion
- Exteriors: Primer base paired with two coats of Apex weatherproof shield
- Preferred brands: Asian Paints, Berger, or Dulux

Electrical Systems
- Ample lighting and power sockets exceeding standard requirements
- Fully concealed heavy-duty conduit networks
- Fire-retardant premium copper cabling by Havells
- Air conditioning readiness in all living spaces
- Legrand Allzy white switchgear (touch-screen compatible)
- Comprehensive exterior and landscape electrification
- Legrand-branded main distribution boards and MCBs
- Pre-wired network for smart home automation
- Dedicated EV charging outlet in the parking bay
- Centralized UPS/Inverter integration point

Plumbing & Water Management
- Comprehensive interior and exterior water distribution
- Direct municipal water intake connections
- Independent kitchen borewell/municipal lines if required
- External sewage routing featuring robust inspection chambers
- Class B Ashirwad or Astral CPVC plumbing lines
- Solar water heater and electric geyser plumbing prep
- Eco-friendly rainwater harvesting ground recharge system
- Premium Sintex PVC rooftop storage reservoir
- Fiber-reinforced plastic (FRP) chamber covers
- Separated hot and cold water mixer lines for sinks

Sanitary & Kitchen Fixtures
- Premium kitchen sink basins and accessories
- High-end Jaquar or Hindware CP and sanitary wares for attached baths
- Dedicated luxury fittings for the powder room

Doors & Windows Setup
- Main entrance: Grand teak wood frame and shutter
- Interior rooms: Sturdy Sal wood frames paired with flush doors
- Main door receives a premium melamine spray polish
- High-end Ozone, Europa, or Dorma hardware with stainless hinges
- UPVC Kommerling windows featuring clear glass and safety grills
- Optional upgrade to traditional wooden windows (Sal/Honne)

Metal Fabrication
- Custom-crafted designer main property gate
- Mild steel safety railings for external stairs and balconies
- Polished stainless steel railings for interior staircases
- Utility and balcony areas receive built-in waterproofing

Boundary Enclosures
- Size stone masonry trench foundation
- 5-foot high solid block perimeter boundary enclosure
- Fully plastered and finished with exterior-grade paint

Important Exclusions
- Design modifications exceeding  iterations will incur extra fees

- Interior wood works will not be part of package 
- Government and statutory liaison charges are direct client expenses
- Municipal plan sanctioning fees are paid by the property owner
- Elevating the ground level beyond 18 inches will be billed extra
- Hard rock or complex soil excavation is billed separately
- Debris removal and fresh earth purchases are charged on actuals
- Material cap limits: Cement price increases or steel price surges are adjusted accordingly
- Door and window areas are capped at 25% of total built-up space
- Client must arrange temporary water and power for the construction crew
- Foundation depths extending beyond 5 feet are additionally charged
- Logistic hurdles for narrow road material delivery billed on actuals

Warranties Provided
- 12-month holistic structural construction guarantee
- 10-year comprehensive terrace and wet-area waterproofing warranty
- All warranties are legally documented on official stamp paper

---

## 3. Sense Elite

Description: Elevated luxury living with 11-foot ceilings, top-tier Fenesta windows, and smart-home ready infrastructure.
Starting Rate: ₹3,000 / sqft

### Features (Highlights)

- Expanded 11-foot vertical floor clearances

- High-end UPVC Fenesta window systems

- Grand teak wood main door

- Premium Italian marble flooring allocations

### Detailed Specs

Architectural Planning
- Elite-tier 2D spatial planning and 3D architectural views
- Comprehensive exterior facade renders for all viewing angles
- Generous allowance of up to forty design revision cycles
- Immersive isometric room-by-room perspectives with realistic lighting
- Bespoke landscaping, garden, and hardscape blueprints
- Fully interactive 3D virtual home walkthroughs
- Segmented 3D models breaking down individual floors for clarity
- Instrument-based precision site topography survey
- Advanced Virtual Reality property tours featuring interior mockups

Civil & Structural Framework
- Grand floor-to-ceiling vertical clearances of 11 feet
- Elite steel reinforcement (JSW, SAIL, or Vizag Fe-500 TMT)
- Grade 53 cement sourced from ACC or Ultratech
- Custom-sized RCC underground sump tailored to occupancy
- High-grade M25 ready-mix concrete formulations
- Heavy-duty machine-cut solid blocks (8-inch and 4-inch variants)
- Custom architectural elements including courtyards and skylights
- Anti-crack chicken mesh plastering at all structural column joints
- Advanced exterior moisture defense using Dr.Fixit or FOSROC
- Crystalline waterproofing and cinder-filled sunken washrooms
- Concealed sanitary ledges built directly into the structure

Drafting & Documentation
- Extensive working drafts covering every single construction phase
- Detailed opening schedules for doors and architectural fenestration
- Cross-section and precise building elevation blueprints
- Curated post-completion handover photography and portfolio

Interior Woodwork & Finishes
- Immersive 3D interior design mockups (if executed by our team)
- Comprehensive 2D furniture placement and spatial layouts
- Dedicated procurement support for sourcing premium interior materials

Engineering & Analysis
- Rigorous structural engineering as per national IS safety standards
- Flawless good-for-construction foundational drawings
- Comprehensive geotechnical soil bearing test reports
- Integrated overlapping of structural, architectural, and MEP plans
- 3D structural stress-test and load analysis documentation

Utility System Design
- Precision electrical circuit, lighting, and switching plans
- Fresh water plumbing and optimized pressure routing
- Wastewater, sewage, and gradient drainage schematics
- Dedicated HVAC and climate control blueprints

Statutory Approvals Support
- End-to-end guidance for securing municipal plan sanctions
- Assistance with securing temporary construction electricity
- Liaison support for permanent power grid connections
- Help with establishing municipal water lines
- Sewage network connection support

Flooring & Wall Cladding
- Kitchen and Bedrooms: Premium high-durability vitrified tiles
- Main Living and Dining: Authentic Italian marble or large 4'x8' vitrified slabs
- Stairways and Foyers: High-polish premium granite slabs
- Balconies and Passages: Matte anti-skid outdoor safety tiles
- Washroom flooring: Textured anti-slip safety tiling
- Washroom walls: Full-height ceiling-level dado cladding
- Parking bays: Heavy-duty designer vehicular pavers
- Kitchen counters: Seamless premium granite working surfaces
- Kitchen walls: Backsplash dado protecting culinary areas
- Puja room: Full-height wall tiling and dedicated granite pedestal
- Unrestricted tile sizes with premium epoxy bathroom grouting

Paints & Coatings
- Interiors: Triple putty layer, single primer, and multiple coats of premium emulsion
- Exteriors: Primer base paired with two coats of Apex weatherproof shield
- Preferred premium brands: Asian Paints, Berger, or Dulux ,Nippo paint

Electrical Systems
- Ample lighting and power sockets tailored to bespoke client needs
- Fully concealed heavy-duty, smoke-proof conduit networks
- Fire-retardant premium copper cabling by Havells
- Legrand Allzy black & white switchgear (touch-screen compatible)
- Comprehensive exterior and landscape electrification
- Legrand-branded main distribution boards and MCBs
- Pre-wired network for advanced smart home automation
- Air conditioning readiness in all bedrooms, living, and dining spaces
- Dedicated EV charging outlet and CCTV surveillance prep
- Centralized UPS/Inverter integration point

Plumbing & Water Management
- Comprehensive interior and exterior water distribution
- Direct municipal water intake connections
- Independent kitchen borewell/municipal lines if required
- External sewage routing featuring robust inspection chambers
- Class B Ashirwad or Astral CPVC plumbing lines
- Solar water heater and electric geyser plumbing prep
- Eco-friendly rainwater harvesting ground recharge system
- Premium Sintex PVC rooftop storage reservoir
- Fiber-reinforced plastic (FRP) chamber covers

Sanitary & Kitchen Fixtures
- Premium kitchen sink basins and high-end culinary accessories
- Luxury Jaquar or Hindware CP and sanitary wares for attached baths
- Dedicated luxury fittings for the powder room

Doors & Windows Setup
- Main entrance: Grand teak wood frame and shutter
- Interior rooms: Sturdy Sal wood frames paired with flush doors
- Main door receives a premium PU finish spray polish
- High-end Ozone, Europa, or Dorma hardware with stainless hinges
- Top-tier UPVC Fenesta windows featuring clear glass and safety grills
- Optional upgrade to traditional wooden windows (Sal/Honne)

Metal Fabrication
- Custom-crafted designer main property gate with Shera board highlights
- Mild steel safety railings for external stairs and balconies
- Polished stainless steel railings for interior staircases
- Utility and balcony areas receive built-in waterproofing

Boundary Enclosures
- Size stone masonry trench foundation
- 5-foot high solid block perimeter boundary enclosure
- Fully plastered and finished with exterior-grade paint

Important Exclusions
- Design modifications exceeding ,iterations will incur fees
- Government and statutory liaison charges are direct client expenses
- Municipal plan sanctioning fees are paid by the property owner
- Elevating the ground level beyond 18 inches will be billed extra
- Hard rock or complex soil excavation is billed separately
- Debris removal and fresh earth purchases are charged on actuals
- Market fluctuations exceeding 45% on raw materials adjusted collaboratively
- Door and window areas are capped at 27% of total built-up space
- Client must arrange temporary water and power for the construction crew
- Foundation depths extending beyond 5 feet are additionally charged

Warranties Provided
- 12-month holistic structural construction guarantee
- 10-year comprehensive terrace and wet-area waterproofing warranty
- All warranties are legally documented on official stamp paper

---

## 4. Sense Signature

Description: The absolute pinnacle of luxury construction, offering expansive spaces, designer elevations, and opulent interior integrations.
Starting Rate: ₹3,500/ sqft

### Features (Highlights)

- Grand 11'6" ceiling clearances

- Extensive premium interior woodwork included

- Opulent Jacuzzi or bathtub installations

- Authentic Italian marble with precision epoxy grouting

### Detailed Specs

Architectural Planning
- Ultra-premium 2D spatial layouts and master planning
- Signature 3D elevation designs capturing all viewing angles
- Multiple dedicated home visits by our senior design architects
- Interactive sketching and real-time design ideation workshops
- Immersive isometric room-by-room perspectives with cinematic lighting
- Bespoke landscaping, garden, and hardscape blueprints
- Fully interactive 3D virtual home walkthroughs
- Segmented 3D models breaking down individual floors for absolute clarity
- Instrument-based precision site topography survey
- Hyper-realistic VR property tours integrating customized furniture and decor

Civil & Structural Framework
- Palatial floor-to-ceiling vertical clearances of 11 feet 6 inches
- Top-tier steel reinforcement (JSW or TATA 500 TMT)
- Grade 53 cement sourced exclusively from ACC or Ultratech
- Custom-sized RCC underground sump tailored to exact occupancy
- High-grade M25 ready-mix concrete formulations
- Heavy-duty machine-cut solid blocks (8-inch and 4-inch variants)
- Anti-crack chicken mesh plastering utilizing double-washed manufactured sand
- Bespoke architectural features including courtyards and grand skylights
- Advanced exterior moisture defense using Dr.Fixit or FOSROC
- Crystalline waterproofing and cinder-filled sunken washrooms
- Concealed sanitary ledges built directly into the structure
- Superior concrete mat shuttering (chaape) techniques deployed
- Thorough pre-construction anti-termite ground treatment

Drafting & Documentation
- Extensive working drafts covering every single construction phase
- Detailed opening schedules for all doors and architectural fenestration
- Cross-section and precise building elevation blueprints
- Curated post-completion handover photography and portfolio

Engineering & Analysis
- Rigorous structural engineering as per national IS safety standards
- Flawless good-for-construction foundational drawings
- Comprehensive geotechnical soil bearing test reports
- Integrated overlapping of structural, architectural, and MEP plans
- 3D structural stress-test and load analysis documentation

Utility System Design
- Precision electrical circuit, lighting, and switching plans
- Fresh water plumbing and optimized pressure routing
- Wastewater, sewage, and gradient drainage schematics
- Dedicated HVAC and climate control blueprints

Statutory Approvals Support
- End-to-end guidance for securing municipal plan sanctions
- Assistance with securing temporary construction electricity
- Liaison support for permanent power grid connections
- Help with establishing municipal water lines
- Sewage network connection support

Flooring & Wall Cladding
- Kitchen and Bedrooms: Premium high-durability, full-body vitrified tiles
- Main Living and Foyer: Authentic Italian marble or massive 4'x8' vitrified slabs with spacer grouting
- External Stairways: High-polish premium granite slabs
- Internal Stairways: Elegant wooden planks or equivalent finishes
- Balconies and Passages: Matte anti-skid outdoor safety tiles
- Washroom flooring: Textured anti-slip safety tiling
- Washroom walls: Full-height ceiling-level dado cladding with master bath accent walls
- Parking bays: Heavy-duty designer vehicular pavers
- Kitchen counters: Seamless premium quartz working surfaces
- Kitchen walls: Backsplash dado protecting culinary areas
- Puja room: Full-height wall tiling and dedicated premium granite pedestal
- Open terraces: Specialized thermal cooling tiles
- Unrestricted tile sizes with premium epoxy bathroom spacer grouting

Paints & Coatings
- Signature accents: 1 texture wall & 1 Royale Play wall for main living and master bedroom
- Interiors: Triple putty layer, single primer, and multiple coats of Royale paint
- Exteriors: Primer base paired with two coats of Apex Ultima weatherproof shield
- Preferred premium brands: Asian Paints, Berger, or Dulux

Electrical Systems
- Ample lighting and power sockets tailored to bespoke client needs
- Fully concealed heavy-duty, smoke-proof conduit networks
- Fire-retardant premium copper cabling by Havells
- Legrand Lyncus/Myrius switchgear series
- Comprehensive exterior and landscape electrification
- Premium ABB, Schneider, or Legrand main distribution boards
- Pre-wired network for advanced smart home automation and digital switches
- Air conditioning readiness seamlessly integrated throughout the house
- Dedicated EV charging outlet and CCTV surveillance prep
- Centralized UPS/Inverter integration point

Plumbing & Water Management
- Comprehensive interior and exterior water distribution
- Direct municipal water intake connections
- Independent kitchen borewell/municipal lines if required
- External sewage routing featuring robust inspection chambers
- Class B Ashirwad or Astral CPVC plumbing lines
- Solar water heater and electric geyser plumbing prep
- Eco-friendly rainwater harvesting ground recharge system
- Premium Sintex PVC rooftop storage reservoir

Sanitary & Kitchen Fixtures
- Premium kitchen sink basins and high-end culinary accessories including flexible taps
- Glass shower enclosures provided for homes exceeding 3500 sq.ft.
- Luxury Jaquar or Hindware CP and sanitary wares for attached baths
- Opulent Jacuzzi or bathtub installations provided for homes exceeding 4000 sq.ft.

Doors & Windows Setup
- Main entrance: Grand teak wood frame and shutter
- Interior rooms: Sturdy Sal wood frames paired with flush doors
- Main door receives a premium PU finish spray polish
- High-end Ozone, Europa, or Dorma hardware with authentic brass main door fittings
- Top-tier wooden-finish UPVC windows or traditional wooden window systems
- Seamless pocket windows and sliding glass doors included

Metal Fabrication
- Custom-crafted designer main property gate with Hpl board highlights
- Mild steel safety railings for external stairs and balconies
- Polished stainless steel railings for interior staircases
- Utility and balcony areas receive built-in waterproofing

Boundary Enclosures
- Size stone masonry trench foundation
- 5-foot high solid block perimeter boundary enclosure
- Fully plastered and finished with exterior-grade paint
- Front boundary features designer architectural elements (slit openings, light drops, tile cladding, or HPL)

Important Exclusions
- Design modifications exceeding three major revisions will incur fees
- Government and statutory liaison charges are direct client expenses
- Municipal plan sanctioning fees are paid by the property owner
- Elevating the ground level beyond 18 inches will be billed extra
- Hard rock or complex soil excavation is billed separately
- Debris removal and fresh earth purchases are charged on actuals
- Market fluctuations exceeding 45% on raw materials adjusted collaboratively
- Door and window areas are capped at 30 % of total built-up space
- Client must arrange temporary water and power for the construction crew
- Foundation depths extending beyond 5 feet are additionally charged

Warranties Provided
- 12-month holistic structural construction guarantee
- 10-year comprehensive terrace and wet-area waterproofing warranty
- All warranties are legally documented on official stamp paper